## Sheet1
Distribution Cabinet (CCx, RCxy) | Location (CCx, RCxy, TBxxx(a), MCxxx(a) ) | IO Device | DT | Slot (AB) | Input Start Address | Input Bytes | Total Input Bytes | Output Start Address | Output Bytes | Total Output Bytes | 24V Load (mA) | Profibus Address | Profinet Device Name | Profibus Network Segment 1 | Profibus Network Segment 2 | Profibus Network Segment 3 | Profibus Network Segment 4 | Profibus Network Segment 5 | Profibus Network Segment 6 | Profibus Network Segment 7 | Profibus Network Segment 8 | Profibus Network Segment 9 | Profibus Network Segment 10 | Profinet Network Segment 1 | Profinet Network Segment 2 | Profinet Network Segment 3 | Profinet Network Segment 4 | Profinet Network Segment 5 | Profinet Network Segment 6 | Profinet Network Segment 7 | Profinet Network Segment 8 | Profinet Network Segment 9 | Profinet Network Segment 10 | Profinet Network Segment 11 | Profinet Network Segment 12 | Profinet Network Segment 13 | Profinet Network Segment 14 | Profinet Network Segment 15 | Profinet Network Segment 16 | Profinet Network Segment 17 | Profinet Network Segment 18 | Profinet Network Segment 19 | Profinet Network Segment 20 | Profinet Network Segment 21 | Profinet Network Segment 22 | Profinet Network Segment 23 | Profinet Network Segment 24 | Profinet Network Segment 25 | Profinet Network Segment 26 | Profinet Network Segment 27 | Profinet Network Segment 28 | Profinet Network Segment 29 | Profinet Network Segment 30
CC2 | CC2 | SIE | A1 |  | - | - | - | - | - | - | 584 | - | CC2-A1 | [10 empty] | 1